	FIRE - EXTINGUISHING OFF-LINE  
SOLID PROPELLANT SYSTEMS  (UPAT)

	[image: image2.jpg]


Systems of liquid fire extinguishing, class A and B. Application: industry and domestic objects, wood fires. Volume of fire extinguishing liquid is 60 – 7500 l. Capacity is 20-250 l/sec. Time before coming into action is 0.5-3.5 sec.    

SOLID PROPELLANT SYSTEMS (UPAT) 

PURPOSE

· FIRE SUPRESSION (CLASS A AND B) IN INDUSTRIAL, HOUSEHOLD AND OTHERS EXPLOSIVE AND FIRE HAZARD OBJECTS 

· FOREST FIRE AND HIGH-RISE BUILDINGS FIRE SUPRESSION 

[image: image1.jpg]



FEATURES

· EFFECTIVE FIRE EXTINGUISHING AND HIGH FLUID SUPPLY INTENSIVITY 

· USING OF DIFFERENT FIRE EXTINGUISHING FLUIDS 

· DIFFERENT NOZZLES FOR JET FORMING, INCLUDING FIRE-SPRAYING 

· SIMPLE DESIGN 

· MULTIPLYING USE 

· STARTING: HEAT OR ELECTRICAL IMPULSE, MECHANICAL DEVICE OR BY HAND OR MEANS COMBINATION 

FEATURES

UPAT-60

UPAT-700

UPAT-1700

UPAT-7500

Fire extinguishing fluid volume, l

60

700

1700

7500

Mass of supplied system, kg

25

250

300

1000

Time of functional output, sincerely

0.5…1

0.5…2

0.5…3

0.5…3.5

Fluid supply intensivity, l/s

0.02…20

10…50

10…100

50…300

Reloading time, hours not more than

0.5

0.5

1

1

Multipleness of use, time

10

20

20

15

Temperature range, °C

0…+50

0…+50

0…+50

0…+50

Guarantee, year

10

10

10

10




